## Slide 1: Testbed for Validating Second-Generation TDI and Clock Noise Correction for LISA
Karin Kruuse
Supervisor: Guido Müller
Notes: Date. Change
Add event, location, student seminar intro talk

## Slide 2: Outline of the Talk
LISA interferometry
About previous LISA simulators
Overview of our proposed LISA testbed
  Its purpose and goals
  Status of the current purely electronic testbed
  Putting together an optical input
Notes: studying the realistic clock noise pipeline

## Slide 4: LISA
Space-based gravitational wave detector
No seismic noise and longer arm length improve sensitivity.
The arm-lengths are unequal and time-varying
  which means laser noise won’t cancel out
  and the laser fields experience Doppler shifts in the range from -10 to 10 MHz
Amaro-Seoane et al., 2017

## Slide 5: The Satellites
Jennrich, 2010
Three satellites surrounding six test masses in free fall
Each satellite houses two lasers, two optical benches and a phasemeter.
Each optical bench houses three interferometers.
The test mass to test mass distances are measured in three parts – this is the so-called split interferometry used in LISA.
Notes: Maybe just bullet points/ or just read only if that helps with nerves

## Slide 6: Internals of a LISA Spacecraft
heterodyne interferometry
LISA interferometric metrology system

## Slide 7: Internals of a LISA Spacecraft
heterodyne interferometry
LISA interferometric metrology system
Beatnote

## Slide 8: Internals of a LISA Spacecraft
USO – Ultra Stable Oscillator

## Slide 9: Internals of a LISA Spacecraft
GW Signal
Doppler Shift
Laser Noise
Clock Jitter
Acceleration noise
Optical Path Length Noise
Electrical Noises

## Slide 10: Problem: Laser Noise
MHz beatnotes must be measured at μcycle precision.
The pre-stabilised laser noise levels coupled into the beatnotes are expected to be orders of magnitude higher.
Notes: DELETE, maybe

## Slide 11: Solution: Time Delay Interferometry
Time Delay Interferometry (TDI) is a cluster of methods to construct virtual equal arms in post-processing.
Transponder signal
Virtual transponder signal
Hartwig, 2021
Notes: Chwck the titles

## Slide 12: Solution: Time Delay Interferometry
Hartwig, 2021
0th generation TDI X combination, equal unchanging arm lengths
In practice, 2nd generation combinations should suppress noise enough to meet the requirement.
Time Delay Interferometry (TDI) is a cluster of methods to construct virtual equal arms in post-processing.

## Slide 13: Problem: Clock Jitter
Lisa metrology system-final report, 2014
Top of the notch clock performance (2014)
Notes: Bad quality, Sourath ghosh arm locking – current clock connest the first graph to our situation

## Slide 14: Solution: The Sidebands
Phase modulation

## Slide 15: Solution: The Sidebands
Lisa metrology system-final report, 2014
Notes: Explain the TM measurement and that this is the second/third link. Also, split interferometry

## Slide 16: Solution: The Sidebands
Lisa metrology system-final report, 2014
After demodulation, considering laser noise and clock jitter:
Notes: Fix t d

## Slide 17: Previous Experiments
De Vine et al., 2010: Experimental Demonstration of Time-Delay Interferometry for LISA, JPL
Vidal, 2023: Validation expérimentale des performances interférométriques de LISA, Paris
Laser noise, Clock jitter, No delay
Laser noise, Clock Jitter, Realistic Delay
Mitryk, 2012: Laser Noise Mitigation through Time Delay Interferometry for Space-based Gravitational Wave Interferometers Using the UF Laser Interferometer
Laser noise, No Clock Jitter, Realistic Delay

## Slide 18: Previous Experiments
De Vine et al., 2010: Experimental Demonstration of Time-Delay Interferometry for LISA, JPL
Vidal, 2023: Validation expérimentale des performances interférométriques de LISA, Paris
Laser noise, Clock jitter, No delay
Laser noise, Clock Jitter, Delay
Mitryk, 2012: Laser Noise Mitigation through Time Delay Interferometry for Space-based Gravitational Wave Interferometers Using the UF Laser Interferometer
Laser noise, No Clock Jitter, Realistic Delay
Predecessor to our testbed, limited by the technology of the time

## Slide 19: Previous Experiments
Mitryk, 2012

## Slide 20: MiniLISA
MiniLISA is a hardware testbed that aims to simulate LISA’s signal chain and test whether we can recover a gravitational wave signal from a realistic, noisy system.
To start with, we want to test the combination of second generation TDI and the clock noise removal post-processing methods on experimental data.
MiniLISA could also offer a substitute to modelled noise sources included in current data analysis.
Notes: Expand on the goals more

## Slide 21: Current Status
A fully electronic implementation of the interferometry system together with a delay and gravitational wave injection has already been developed and is being tested.
Time varying delays
Doppler shifts for both the carrier and sidebands
Gravitational wave injection

## Slide 22: The Delay Line
The center of the experiment is the delay line.
The added varying delays, gravitational wave signals and Doppler shifts are controllable via a Python-based interface.
AMD Zynq™ UltraScale+™ RFSoC ZCU208 Evaluation Kit

## Slide 23: Signal Processing on the Delay Line
The evaluation board includes enough to take in two photodetector readings and output the corresponding LISA-like beatnote as an electrical signal.
Credit: Reid Ferguson

## Slide 24: Delay Line Performance
Main noise source is the clock jitter, which couples into the phase measurement.
This won’t be suppressed by TDI or clock noise removal and an extra measurement is likely needed.

## Slide 25: Delay Line Noise Measurement
Credit: Reid Ferguson

## Slide 26: Phase Measurement with an Optical Input
Set up for generating one LISA-like science interferometer readout.
Notes: typo

## Slide 27: Phase Measurement with an Optical Input
Set up for generating one LISA-like science interferometer readout.
Sci IF
Notes: Add the beatnotes here?

## Slide 28: Phase Measurement with an Optical Input
Set up for generating one LISA-like arm link.
~10 MHz
~60 MHz
~15 MHz
Notes: typo

## Slide 29: The Phasemeters
Red Pitaya running LISA gateware
Not space-qualified, but enables MHz phase readout
ADC is noisier than LISA’s frontend, but pilot tone correction helps Each board has two inputs and two outputs.
Red Pitaya

## Slide 30
Two-arm Testbed
Notes: Here have the reference

## Slide 31
Two-arm Testbed

## Slide 32: Possible Additions
More true-to-LISA clock noise transfer
  Needs some more studying
Third arm link
  Needs frequency planning
Test mass acceleration noise
Notes: Firstly, the actual clock transfer system is a bit more complicated than just USO – phase modulation – read out on other SC.

## Slide 33
Preliminary Optical Layout
Notes: Mention that ist not balanced deteciotn.

## Slide 34
Thank you for listening!

## Slide 35: Assumptions
Test mass to spacecraft distance measurement is perfect
No optical bench jittering
Adjacent/local lasers are perfectly locked
No backlink noise
Notes: Is this necessary, is so, focus,

## Slide 36
Two-arm Testbed – Technical Noise Sources

## Slide 37: Internals of a LISA Spacecraft

## Slide 38
Two-arm Testbed

## Slide 39: Experimental Milestones
Laser Characterization
Measure free-running laser phase noise PSD
Lock two lasers to optical cavities
Measure cavity-locked laser noise — aim for LISA-level performance
Arm Setup
Test transponder signal to verify baseline delay chain behavior
Create first arm link
Create second arm link for full TDI X
TDI Processing
Calculate TDI combinations and clock-noise corrected PSDs
Compare results to expected suppression factors
Notes: This one is weirdly technical

## Slide 40: Frequency Planning
The beatnotes must be at predefined frequencies
The phasemeter is designed to be sensitive in the range from 5 to 25 MHz
At lower frequencies laser noise is determined to be too high.
At higher frequencies, the photodetector signals get noisier.
Doppler shifts have to be accounted for
Beatnote crossings should be avoided

## Slide 41: Internals of a LISA Spacecraft

## Slide 42: LISA Scienece Interferometer

## Slide 43: MiniLISA