## Slide 1: Testbed for Validating Second-Generation TDI and Clock Noise Correction for LISA
Karin Kruuse, Reid Ferguson, Sourath Ghosh, Patrick Krieger, Daniele Vetrugno, Guido Mueller Max Planck Institute for Gravitational Physics/Leibniz University Hannover
Notes: This is a status report

## Slide 2: LISA Science Interferometer
Two primary noises in the LISA raw data – laser noise and clock timing jitter
Notes: Simulations can only test what you think to simulate

## Slide 3: Replicating the LISA Arm in the Lab
LISA arm
Testbed arm

## Slide 4: Replicating the LISA Arm in the Lab
Carrier from 281 THz to ~50MHz
LISA arm
Testbed arm

## Slide 5: Replicating the LISA Arm in the Lab
Inter-satellite interferometers
LISA arm
Testbed arm

## Slide 6: Replicating the LISA Arm in the Lab
LISA arm
Testbed arm
Notes: Fix the signs

## Slide 7: Full Testbed
One laser per spacecraft
Cavity locked primary laser
Independent clocks
Six separate delay lines
Notes: Lasers, delaylines, locking, add pic of lab more fluent – streamline the talking about the pair o

## Slide 8: Cavity Locking Two Lasers
For LISA-like laser noise the primary laser should be cavity locked.
Two lasers locked to separate cavities – 25 cm and 30 cm
Two separate Pound-Drever-Hall (PDH) locks
Beat note needs to be below 60 MHz
Illustrative cavity resonances
Notes: The length variability, like how it affects the
more fluent – streamline the talking about the pair of resonances

## Slide 9: Delay Line
Time varying delays
Doppler shifts for both the carrier and sidebands
Gravitational wave injection
AMD Zynq™ UltraScale+™ RFSoC ZCU208 Evaluation Kit
Intrinsic noise floor of one board in purple
Notes: Designed for softwawre RF

## Slide 10: PLL Lock of Far Spacecraft
Photodetector readings are dominated by free running laser frequency noise.
Mixed output is orders of magnitude lower.
Notes: Dont have the PM in the SC add the out of loop noise on the plot

## Slide 11: PLL Lock of Far Spacecraft
We can recover a LISA-like one-way laser noise transfer function
Notes: Explain the extraction clearly this is results w the LFN, this has been done in Florida

## Slide 12: PLL Lock of Far Spacecraft
We can recover a LISA-like one-way laser noise transfer function
Notes: Transistion from LFN to clock noise, mention Florida, higher phase fidelity, tech and added clocks Show TDI and GW injection, like we can do that w the electronics (at the expense of the clock noise time)

## Slide 13: Predecessor Testbed
Strain amplitude 4.35×10−20
TDI 1.0
TDI 2.0
Results from University of Florida Laser Interferometry Simulator
Credit: Mitryk, 2012

## Slide 14: Clock Noise Transfer in LISA
Notes: Clarify the modulating freq.
Add clarifing notes for the terms/frequencies (already in previous slides)

## Slide 15: Sidebands in the Lab
LISA arm
Testbed arm
Notes: Highlight the modulation frequency in the text, explain the GHz limitation better

## Slide 16: Clock Tone Transfer Limitation
Modulator noise remains too loud if MHz modulation is used.
Notes: This is extreme case, we are exploring some ideas, like why the factor of 200

## Slide 17: GHz Modulation
Where to derive the modulating tone from?
Heterodyned sideband beat notes add a new timing jitter to the mix.
Notes: May be bullet lies, PM clocking from SB, reference meas, ADC mixing, aliasing,

## Slide 18: GHz Modulation – Option 2
Mixing of a GHz signal in the ADC – effectively increasing the bandwidth of the input of the electronics to 5 GHz.
Internal IQ demodulation
Notes: Our firmware currently doesn’t allow for GHz “front end”. Solution nr 2, add Clarify the solution properly. Like why is this even an issue currently internal IQ demodulation --

## Slide 19: Conclusions and Next Steps
✓ Delay line — working, below requirement
✓ PLL lock demonstrated with free running lasers
○ Assembling the optical layout and cavities
○ GHz sideband chain — under investigation
○ Delay board clock noise removal
○ Full TDI and clock noise removal
Thank you for listening!
Notes: Fix the clock noise stuff
Add the cavity locking plans? – how u get the good beatnote (in the right range)
Take out delay line stuff, like put them together

## Slide 20: Modulation Noise Characterization
Notes: Add fibers?

## Slide 21: What to do with the clock noise?
We are working on another layer of post processing remove this noise
Can be done after TDI and LISA-like clock noise removal
Tests of Delay Line Board Clock Phase Noise
Only if the residuals are added
And rhen other noises should also be added
Notes: Add something that indicates the residuals

## Slide 22: Experiments so Far
A new baseline measurement with an optical signal and free running delay line board clock reveals a potential problem.
Tests of Delay Line Board Clock Phase Noise
Notes: Take out

## Slide 23: Experiments so Far
R. Ferguson et al., Applying TDI to Hardware-Simulated Data, 2025
Fully electronic tests of TDI.
Notes: Update! If shown, show later

## Slide 24: LISA Laser Frequency Noise
Credit: Jennrich, 2010
Unequal arm lengths and laser frequency noise
As per LISA requirements
Hence for the arm length uncertainty we get
But to be sensitive enough to detect GWs, we need