## Slide 1: Edits to the Delay Line
Removed the packet generator
But the performance of the system does not change
I learned in the process
And the build time is shorter

## Slide 2: New Baseline Measurement with a Sideband
Free running board clock
Alternative way of forming a “noise free” combination – baseline performance
Measured a delayed sideband that was generated in the signal source (Moku Lab) using the boards own clock (CLK REF out)
Likely lobing from delay errors

## Slide 3: Typical Baseline Measurement

## Slide 4: New Baseline Measurement
SYS REF is limited to 300 MHz
Phase noise in the PM readout:

## Slide 5: New Baseline Measurement