## Slide 1: miniLISA setup

## Slide 2: LISA Clock Signal Distribution
Synthesizer
Synthesizer
Sideband EOM
Sideband EOM
Frequency Divider (÷64)
Frequency Divider (÷64)
MCLK
50 MHz
PM ADC Channels
PM ADC Channels
Left-side Frequency Distribution Module
Right-side Frequency Distribution Module
50 MHz -> 2.39 GHz
50 MHz -> 2.391 GHz
2.391 GHz -> 37.5 MHz
2.39 GHz -> 37.5 MHz
Pilot Tone
Pilot Tone

## Slide 3: LISA Timing Jitters
Synthesizer
Synthesizer
Sideband EOM
Sideband EOM
Frequency Divider (÷64)
Frequency Divider (÷64)
MCLK
50 MHz
PM ADC Channels
PM ADC Channels
Left-side Frequency Distribution Module
Right-side Frequency Distribution Module
50 MHz -> 2.39 GHz
50 MHz -> 2.391 GHz
2.391 GHz -> 37.5 MHz
2.39 GHz -> 37.5 MHz
Pilot Tone
Pilot Tone
SC1, 12 side or
SC1 left side
SC1, 13 side or
SC1 right side

## Slide 4: LISA Timing Jitters
Function Generator
Sideband EOM
Rb CLOCK
10 MHz
PM ADC Channels
(Left-side) Frequency Distribution Module
Pilot Tone
SC1, 12 side or
SC1 left side

## Slide 5: About Requirements
After the pilot tone correction, LISA PM measurements are in the time base of the pilot tone. This is to say, the pilot tone is the “ultimate” PM time reference.
The pilot tone includes the timing jitters
However, the sidebands include terms
So there are some requitements set on these paths (excluding EOM noise)
Our setup doesn’t seem to include similar sources though, so currently its not that relevant.
Sideband generation
Sideband vs PT (very important)